## Elster Programming Form
| Elster Meter Programming Form |  |  |  | Form Version Date: |  | 2018-04-19
Please complete highlighted boxes, as applicable.
Company Name |  |  |  | A1700 Current Range: CT operated - 5-6A, 5-10A, 1-2A, 1-1.2A, Direct connected - 10-100A (widest range). Reference Voltage 57.5 - 240V (3 Ph, 4W), 100 - 414V (3Ph, 3W) |  | A1140 Current Range: CT operated 5-10A, 1-10A, 1-2A. Direct connected 20-100A, 10-100A, 5-100A. Reference Voltage 220-240V (L-N) or 220-240V (L-L) 105-127V (L-N) or 105-127V (L-L).
Your Order Reference
Contact Name & Tel
Contact Email
Scheme ID or Site Location
1) Meter Type | Select one |  |  | 2) Passwords |  | 3) Meter ID - select unique ID for each meter on same Comm network. Single meter install will be set to Default, unless specified.
| A1700 | A1140
3Ph, 4 Wire | 230V 110V | 230V 110V |  | Default |  | 001 (default)
3Ph, 3 Wire | 230V 110V |  |  | Level 1* |  | 2
2Ph of 3Ph, 4 Wire |  | 230V 110V |  | Level 2* |  | 3
2Ph, 3 Wire |  | 230V 110V |  | Level 3* |  | 4
1Ph, 3 Wire |  | 230V 110V |  | *Complete if require custom passwords |  | 5
1Ph, 2 Wire |  | 230V 110V |  | **Available for A1700 Only |  | Other (specify)
4) Meter Options | Visible on LCD display by pressing the yellow button |  | Select or provide info below if option is required. Any option left blank shall be assumed as not required.
Date / Time | Date (dd/mm/yy) |  | ü
Time (hh:mm)
Current Transformer | CT Ratio (Primary/Secondary)
Voltage Transformer** | VT Ratio (Primary/Secondary)
Imported Energy | IMP (kWh) A1700 = 8 digits / A1140 = 7 digits |  | Unit (select one) | _ _ _ _99.9 kWh | _ _ _ _999 kWh | _ _ _ _9.99 MWh | _ _ _ _99.9 MWh
Exported Energy | EXP (kWh) A1700 = 8 digits / A1140 = 7 digits |  | Require | Unit must be same as IMP
TOU Rates (select Imp or Exp) Use 'Additional Settings' box as required | Rate 1 (kWh) |  | Import Export | Start time & day(s): | example 07:00 Mon-Fri | End time & day(s): | example 00:00 Mon-fri
| Rate 2 (kWh) |  | Import Export | Start time & day(s): |  | End time & day(s):
| Rate 3 (kWh) |  | Import Export | Start time & day(s): |  | End time & day(s):
| Rate 4 (kWh) |  | Import Export | Start time & day(s): |  | End time & day(s):
3 Phase Active Power | Phase A (kW) |  | Require
Phase B (kW)
Phase C (kW)
Total (kW)
Maximum Demand (select Imp or Exp) | MD1 (kW) + Date/Time |  | Import | Export
| MD2 (kW) + Date/Time |  | Import | Export
Pulse Output (select Imp or Exp) | Not visible on LCD display |  | Pulse 1 | Import | Export | Wh per Pulse 100 Wh 250 Wh
|  |  | Pulse 2** | Import | Export | 500 Wh** 1 kWh**
Communication | Not visible on LCD display |  | Type - select one |  | Baud Rate - select one
|  |  | RS232 RS485 GSM |  | 9600 4800 2400 1200
5) Additional Settings/Info
Please contact Rayleigh Instruments if you require assistance for additional options not covered by this programming form.